## 2025
National Medical Supplies Fund
RFQ 18/2025 - Gastrointestinal Consumables
No. | Item Description | Detailed Specifications for ERCP and Endoscopy Accessories | UOM | Qty. | Offered Qty. | Manufacturer | Origin | Unit Price / Euro | Total Price / Euro | Delivery Time (Days) | Quality Certificates | Large Pack Size/Unit | Small Pack Size/Unit | Shelf Life/ Exp.date | Agency | Registration Status | Remarks
1 | Sphincterotome Triple Lumen | Used in ERCP for sphincterotomy. Triple lumen allows for cutting wire, contrast injection, and guidewire passage simultaneously. Available in angled tip (15–30°) for selective cannulation. Cutting wire length typically 20–25 mm. | Bottle | 50 |  |  |  |  | 0
2 | ERCP Cannula Double Lumen | Facilitates selective biliary/pancreatic duct cannulation. Double lumen design: one for guidewire (0.025–0.035 inch) and one for contrast injection. Length 200 cm, tip radiopaque for fluoroscopic guidance. | Pcs | 20 |  |  |  |  | 0
3 | Precut Triple Lumen | Designed for difficult biliary access when standard cannulation fails. Triple lumen allows contrast injection and guidewire placement during needle- knife precut. Electrosurgical compatibility. | Pcs | 20 |  |  |  |  | 0
4 | ERCP Guidewire 400cm, 0.25 | Long guidewire, 400 cm, diameter 0.025 inch. Hydrophilic tip for atraumatic duct entry, body with stiff shaft for push ability. Compatible with most ERCP devices. | Pcs | 25 |  |  |  |  | 0
5 | ERCP Guidewire 400cm, 0.35 | Same as above, but 0.035 inch diameter for added stiffness and torque. Radiopaque for fluoroscopy. Recommended for difficult anatomy and larger accessories. | Pcs | 50 |  |  |  |  | 0
6 | Extraction Balloon | Multi-size (9–12 mm, 12–15 mm, or 15–18 mm) balloon for bile duct stone removal. Radiopaque markers. Inflated with contrast/saline. Triple lumen catheter. | Pcs | 20 |  |  |  |  | 0
7 | Pusher Size 10 | Accessory used to advance 10 Fr plastic stents into the bile duct. Compatible with 10 Fr delivery system. Length ~200 cm. | Pcs | 10 |  |  |  |  | 0
8 | Pusher Size 7 or 8 | Same as above but for 7 or 8 Fr plastic stents. Flexible shaft, radiopaque markers. | Pcs | 20 |  |  |  |  | 0
9 | Stent Delivery System Size 10 | For 10 Fr plastic biliary stent insertion. Includes introducer, pusher, and sheath. Length ~200 cm. | Pcs | 20 |  |  |  |  | 0
10 | Stent Delivery System Size 8 | Similar, but designed for 8 Fr biliary stents. | Pcs | 15 |  |  |  |  | 0
11 | PEG Tube Size 24 | Percutaneous endoscopic gastrostomy tube, 24 Fr, silicone material. External fixation plate. Suitable for long-term enteral feeding. | Pcs | 30 |  |  |  |  | 0
12 | PEG Tube Size 20 | PEG tube, 20 Fr, silicone or polyurethane. For adult nutritional support. Compatible with pull or push techniques. | Unit | 25 |  |  |  |  | 0
13 | Cyanoacrylate 0.5ml | N-butyl cyanoacrylate ampoule 0.5 ml. Used for gastric variceal obliteration. Rapid polymerization on contact with blood. Requires lipiodol mixing for injection. |  | 500 |  |  |  |  | 0
14 | Injector 19G | Injection needle catheter, 19-gauge. Length 180–230 cm. Used for sclerotherapy, adrenaline injection, or hemostatic agents during endoscopy. Retractable needle for safety. |  | 250 |  |  |  |  | 0
15 | Savary Guide Wire | Stiff wire, 0.89–1.0 mm diameter, 260–400 cm length. Used for esophageal dilation with Savary-Gilliard dilators. PTFE- coated shaft, radiopaque tip. |  | 30 |  |  |  |  | 0